NATIONAL WORK GROUP ON LEAK DETECTION EVALUATIONS

Policy Memorandum #3

Summary of Work Group Policies and Procedures

November 29, 1999; Revised September 1, 2015

Work Group List Policies

I.  List availability:

A.	The List shall be available to all state UST contacts, vendors, evaluators, EPA Regional

Offices, local government and tribal contacts and to all other interested parties via the NWGLDE web site on the internet and any and all other web sites that wish to make the List available.

II.  List formatting policy:

A.	The List is formatted the same as the California LG113 List.

B.  	First, a summary of leak detection systems is included listed alphabetically by method, and

then vendor.  Following this are individual data sheets describing each system listed

alphabetically by vendor and then by method.

C.	The data in each listing should be in the units shown in the third-party evaluation.

D. 	As they are developed, sample maintenance checklists shall be included on the Work Group web site, but no longer in the List.

E. 	All pages of the List must have the following:

1.  A disclaimer,

2.  A revision date,

3.  A page number (only required on the annual edition of the list available for downloading

and printing).

4.  A software version number – where applicable

F.	The summary section of the List shall have tank and piping capacities listed.

G. 	The List shall include only acceptable peer reviewed third-party test method protocols and will not include protocols under review.

H. 	A glossary of technical terms shall be included in the List.

I. 	The List shall include the third-party evaluator's phone number, e-mail address and web page.

J.	The List shall not cross reference identical leak detection systems marketed by more

than one vendor unless requested to do so by all vendors who market the system.

K.	All evaluation dates and evaluation revision dates should be shown on the List.

L.	When the Work Group is made aware, the List includes information concerning

status of the vendor such as "no longer in business" and/or "no longer provides technical

support".

M.  When the vendor informs the Work Group of leak detection system status, such as “the

vendor no longer supports the use of this system”, the List includes information from the

vendor concerning the status of the leak detection system.

N.	The List disclaimer shall include a statement that says equipment should be installed

and operated in accordance with all applicable laws and regulations.

O.  All applicable data sheets should indicate that a tank system should not be declared

tight if a loss or gain equals or exceeds the threshold.

P.  The data sheets should show only the units of measurement of the system that was used in

the evaluation.  If more than one system was used, then both systems may be shown.

Work Group Review Policies

I.  General leak detection equipment/method evaluation review policy:

A. 	All leak detection systems must be third-party evaluated with simulated leak rates blind to the

equipment manufacturer's representative.

B.  	In order for an evaluation to be listed, third-party evaluation reports must clearly state which previously approved protocol was used to conduct the evaluation.

C.  The Work Group will not review any evaluations that do not follow either:

1.  A Standard EPA protocol, or

2.  An alternative protocol reviewed and accepted by the Work Group.

Acceptance must be obtained before the Work Group will begin the evaluation review.

D.  Changes to an existing protocol must be discussed with and accepted by the Work Group

before testing, or before continuing testing if the evaluator identifies concerns during testing.

E.  Regular communication with Work Group members can expedite the review.  For planning

purposes, anticipate at least a six-month review process for a complete evaluation package.

F.   The evaluation must confirm that the system meets minimum EPA and/or other regulatory

performance standards.

G. 	Listing of system(s) which are identical to evaluated leak detection system requires:

1.  Submittal by the evaluator of a detailed letter verifying that the system is identical to

the evaluated system and describing how the determination was made, and

2.  A finding by the Work Group that the information is complete and acceptable.  If

information is not complete and/or acceptable, the leak detection system will not be listed for the other vendor or vendors until the Work Group receives written confirmation from the third-party evaluator that the system is identical to the evaluated system.

H.	When special clarification is desirable, system data sheets should comment on the source of

data used during the evaluation.

I.     If a problem is discovered with a third-party test after a system data sheet has been added to the List, the vendor shall be given a reasonable time period to provide information clarifying the test. The data sheet listing will be either appropriately modified or removed from the List if:  1) the vendor must re-test the system to correct the problem; 2) the vendor provides an unsatisfactory response to this request; 3) the vendor fails to respond to this request.  The system data sheet may be either appropriately modified or reinstated on the List after all third-party test concerns are resolved.  If concerns cannot be resolved or if there is no response from the vendor, the system will be either appropriately modified or removed from the List.”

J.    Any time a vendor makes revisions to leak detection equipment or components, hardware, software version, procedure methodology, etc., which involves materials, processes, or software version other than what was used in the evaluation currently listed on the NWGLDE list, the vendor must submit written information about those changes and their impact(s) on the leak detection method to the Chair of the Work Group, who will forward the information to the appropriate team(s).  The team(s) will determine if the changes are sufficient to warrant a revision to the listing. If the proposed changes do not warrant a new evaluation, appropriate changes to the listing may be made using the process described in this policy. If the team(s) determines a new evaluation is required to incorporate the requested changes, they will inform the vendor of that determination.

II.  Alternative leak detection test method protocol review policy:

A. 	All leak detection test method protocols must be written by a third-party.

B.	All leak detection test method protocols must be reviewed by a peer review committee.

C.  	Protocols must meet all EPA requirements listed under "Alternative Test Procedures Deemed

Equivalent to EPA's" which is included in the Foreword to all EPA Standard Test Procedures

for Evaluating Leak Detection Methods, March, 1990.

Work Group General Team Procedures

I.  Team third-party leak detection equipment/method evaluation review procedure:

A.	The leader and all members of the team receive evaluation information from vendor.

B.	The leader, upon receipt of the evaluation, shall survey the material in accordance with

the "Leak Detection System Review-Document List" (refer to the front of the List) and if

incomplete, request the additional information be sent to all the members of the team in a timely manner.

C.	Team member(s) shall review the evaluation in accordance with Work Group review criteria

and try their best to complete the review within 3 months.  Team member(s) are not precluded from seeking expertise from non work group members if such expertise will assist them in reviewing evaluations, although this may extend the time necessary to complete the review.  Team member(s) might receive unsolicited comments from the public or other parties during the review process and may, at their discretion, decide the relevance of any such comments.  Team member(s) are not obligated to acknowledge receipt of unsolicited comments or respond to the commenter(s).

D. 	If necessary, the lead reviewer must notify the vendor of any concerns that must be addressed.

E.	If all concerns cannot be resolved between the team and the vendor, the vendor may make a

written request to the Chair of the Work Group for the unresolved issue or issues to be heard

by the entire Work Group.  After hearing the issue(s), the entire Work Group will attempt to

resolve the issue(s).

F.	Team member(s) shall review the evaluation in accordance with Work Group review criteria

and try their best to complete the review within 3 months.  Team member(s) are not precluded from seeking expertise from non work group members if such expertise will assist them in reviewing evaluations, although this may extend the time necessary to complete the review.  Team member(s) might receive unsolicited comments from the public or other parties during the review process and may, at their discretion, decide the relevance of any such comments.  Team member(s) are not obligated to acknowledge receipt of unsolicited comments or respond to the commenter(s).

G.	If necessary, the lead reviewer must notify the vendor of any concerns that must be addressed.

H.	If all concerns cannot be resolved between the team and the vendor, the vendor may make a

written request to the Chair of the Work Group for the unresolved issue or issues to be heard

by the entire Work Group.  After hearing the issue(s), the entire Work Group will attempt to

resolve the issue(s).

I.    If it becomes obvious that all concerns cannot be resolved, or if the vendor has taken no

action to resolve the concerns within 12 months, the lead member of the team shall notify the

vendor in writing  that the Work Group has discontinued review of the system.

J.	When all concerns are resolved, the lead reviewer will prepare a draft leak detection system

data sheet in accordance with Work Group policies and submit a copy to the vendor for

review and comment.  The data sheet must indicate it is a draft before being sent for review.

The vendor will be asked to approve the draft data sheet in writing or e-mail.  Verbal approval

should not be accepted.

K.  	The lead reviewer will finalize the data sheet and e-mail it to the leader for final review.

The leader will make sure the data sheet is correct and then e-mail the final data sheet

to the "List Administration" leader.

L. 	The "List Administration" leader makes all necessary editorial changes and finalizes

data sheet.  If necessary, the "List Administration" leader sends changes by e-mail to

the leader, and allows an appropriate time to review.

M. 	After an appropriate time, the "List Administration" leader sends the data sheet

to the entire work group and allows an appropriate time to review.  If there are comments, the

"List Administration" leader will address the comments, then add the new data

sheet to the List.

N. 	The lead reviewer needs to keep an official Work Group file of the information during 	the 	evaluation review process.

- Upon workgroup approval and posting of the new evaluation on the NWGLDE website, the lead reviewer will send a copy of all files associated with the review (submittal request, 3rd party docs., general correspondence, final listing with changes highlighted, company literature) to the webmaster and cc NWGLDE Chair.  Prior to sending to the webmaster, the files will be renamed using the following convention:

“method.companyname.typeofcorrespondance.dateofNWGLDEapproval”

Types of correspondence key: .console.  .sensor.  .GenCorr.  .3rdEval.  .Colit.

II.  Team alternative third-party leak detection test method protocol review procedure:

A.	The leader and all team members receive an outline of the draft protocol from a peer review committee summarizing the results of the committee's review of a draft protocol.

B.	The leader collects comments from the team and submits a written summary of the team comments to the peer review committee chairperson.

D.	The leader and all the team members receive a final draft protocol from a peer review committee.

E.	The leader, upon receipt of the final draft protocol, shall survey the material and if incomplete request the additional information be sent to all the members of the team in a timely manner.

F.	Team member(s) shall review the final draft protocol in accordance with Work Group review criteria and try their best to complete the review within 3 months.  Team member(s) are not precluded from seeking expertise from non work group members if such expertise will assist them in reviewing final draft protocols, although this may extend the time necessary to complete the review.  Team member(s) might receive unsolicited comments from the public or other parties during the review process and may, at their discretion, decide the relevance of any such comments.  Team member(s) are not obligated to acknowledge receipt of unsolicited comments or respond to the commenter(s).

G. 	The leader must provide written comments to the peer review committee explaining any concerns that must be addressed.

H.	Team member(s) shall review the final draft protocol in accordance with Work Group review criteria and try their best to complete the review within 3 months.  Team member(s) are not precluded from seeking expertise from non work group members if such expertise will assist them in reviewing final draft protocols, although this may extend the time necessary to complete the review.  Team member(s) might receive unsolicited comments from the public or other parties during the review process and may, at their discretion, decide the relevance of any such comments.  Team member(s) are not obligated to acknowledge receipt of unsolicited comments or respond to the commenter(s).

I.    If all concerns cannot be resolved between the team and the peer review committee, the peer

review committee may make a written request to the Chair of the Work Group for the

unresolved issue or issues to be heard by the entire Work Group.  After hearing the issue(s),

the entire Work Group will attempt to resolve the issue(s).

J.	If the final protocol does not address the concerns or meet the standards of the Work Group, the leader will return it with written comments to the peer review committee for reevaluation and/or redesign and the process starts over again at Item H above.

K.	If the final protocol addresses the concerns or meets the standards of the Work Group, the leader shall e-mail the final protocol name, author, and date to the "List Administration" leader who will add it to the "Acceptable Test Protocols" section of the List.

L.   If all concerns cannot be resolved between the team and the peer review committee, the peer

review committee may make a written request to the Chair of the Work Group for the

unresolved issue or issues to be heard by the entire Work Group.  After hearing the issue(s),

the entire Work Group will attempt to resolve the issue(s).

M.	If the final protocol does not address the concerns or meet the standards of the Work Group, the leader will return it with written comments to the peer review committee for reevaluation and/or redesign and the process starts over again at Item H above.

N.	If the final protocol addresses the concerns or meets the standards of the Work Group, the leader shall e-mail the final protocol name, author, and date to the "List Administration" leader who will add it to the "Acceptable Test Protocols" section of the List.

O.  The lead reviewer of the listed final protocol needs to keep an official Work Group file of information during the review process.  Once approved, the final protocol will be posted on NWGLDE website.

P. 	Once the review is complete the lead reviewer sends the file to the file retention committee.

III.  Team leak detection equipment/method data sheet revision procedure:

A.  The leader and all team members must receive the following data sheet revision

information from the vendor before a revision to a data sheet can be considered.

1.  The exact information on what is to be revised.

2.  The corresponding file name(s) on the Work Group website for the proposed revision.

3.  Exactly (in detail) what the Work Group is being requested to revise on the list and

why the change is necessary.

4.  When a vendor is claiming that the changes do not merit a new third-party evaluation,

justification must be included from a third-party tester to confirm that the changes do

not affect the performance indicated by the original third-party evaluation.

5.  An e-mail address and website URL.

6.  When a leak detection system has been sold to a new company, a letter from the

former and new owner confirming the sale.

B.  The leader, upon receipt of the data sheet revision information, shall survey the material

in accordance with the requirements of Item A above, and if incomplete, request additional

information be sent to all team members in a timely manner.

C.  The leader may review the data sheet revision request or may designate a team

member to review the data sheet revision request.

D.  The team member shall revise data sheets, as necessary, in a manner that makes the

corrections clearly discernable, and send them to the “List Administration” leader.

- If necessary, the team member should provide a cover e-mail with explanation(s) of

revisions.

- The team member needs to clearly indicate on data sheet if it is new or revised.

E.  The "List Administration" leader will revise and, if necessary, make editorial changes to

the revised data sheets, e-mail to the team member, giving the member 10

days to review them.

F.  After 10 days, the "List Administration" leader will add the revised data sheet to the List.